## Gas Conv
Assumption: 1200 Square foot house with average heat setting of 70 degrees.
|  | Year 1 |  |  |  |  | Year 2 |  |  |  |  | Year 3 |  |  |  |  | Year 4
| Conversion To Gas: Investment | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total
Gas: Estimated Costs |  | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860
Propane Est. Costs |  | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594
Gas Conversion Savings |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5
Cumulative Savings |  | 933.5 | 1867 | 2800.5 | 3734 |  | 4667.5 | 5601 | 6534.5 | 7468 |  | 8401.5 | 9335 | 10268.5 | 11202 |  | 12135.5 | 13069 | 14002.5 | 14936
Net Savings | -12000 | -11066.5 | -10133 | -9199.5 | -8266 |  | -7332.5 | -6399 | -5465.5 | -4532 |  | -3598.5 | -2665 | -1731.5 | -798 |  | 135.5 | 1069 | 2002.5 | 2936
Oil Est. Costs |  | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771
Gas Conversion Savings |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75
Cumulative Savings |  | 477.75 | 955.5 | 1433.25 | 1911 |  | 2388.75 | 2866.5 | 3344.25 | 3822 |  | 4299.75 | 4777.5 | 5255.25 | 5733 |  | 6210.75 | 6688.5 | 7166.25 | 7644
Net Savings | -12000 | -11522.25 | -11044.5 | -10566.75 | -10089 |  | -9611.25 | -9133.5 | -8655.75 | -8178 |  | -7700.25 | -7222.5 | -6744.75 | -6267 |  | -5789.25 | -5311.5 | -4833.75 | -4356
Electric Basedboard Est. Costs |  | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672
Gas Conversion Savings |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453
Cumulative Savings |  | 453 | 906 | 1359 | 1812 |  | 2265 | 2718 | 3171 | 3624 |  | 4077 | 4530 | 4983 | 5436 |  | 5889 | 6342 | 6795 | 7248
Net Savings | -12000 | -11547 | -11094 | -10641 | -10188 |  | -9735 | -9282 | -8829 | -8376 |  | -7923 | -7470 | -7017 | -6564 |  | -6111 | -5658 | -5205 | -4752
[7 empty] | Year 5 |  |  |  |  | Year 6 |  |  |  |  | Year 7
[7 empty] | Q1 | Q2 | Q3 | Q4 |  | Q1 | Q2 | Q3 | Q4 |  | Q1 | Q2 | Q3 | Q4
Gas: Estimated Costs | [6 empty] | 215 | 215 | 215 | 215 |  | 215 | 215 | 215 | 215 |  | 215 | 215 | 215 | 215
Propane Est. Costs | [6 empty] | 1148.5 | 1148.5 | 1148.5 | 1148.5 |  | 1148.5 | 1148.5 | 1148.5 | 1148.5 |  | 1148.5 | 1148.5 | 1148.5 | 1148.5
Gas Conversion Savings | [6 empty] | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5
Cumulative Savings | [6 empty] | 15869.5 | 16803 | 17736.5 | 18670 |  | 19603.5 | 20537 | 21470.5 | 22404 |  | 23337.5 | 24271 | 25204.5 | 26138
Net Savings | [6 empty] | 3869.5 | 4803 | 5736.5 | 6670 |  | 7603.5 | 8537 | 9470.5 | 10404 |  | 11337.5 | 12271 | 13204.5 | 14138
Oil Est. Costs | [6 empty] | 692.75 | 692.75 | 692.75 | 692.75 |  | 692.75 | 692.75 | 692.75 | 692.75 |  | 692.75 | 692.75 | 692.75 | 692.75
Gas Conversion Savings | [6 empty] | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75
Cumulative Savings | [6 empty] | 8121.75 | 8599.5 | 9077.25 | 9555 |  | 10032.75 | 10510.5 | 10988.25 | 11466 |  | 11943.75 | 12421.5 | 12899.25 | 13377
Net Savings | [6 empty] | -3878.25 | -3400.5 | -2922.75 | -2445 |  | -1967.25 | -1489.5 | -1011.75 | -534 |  | -56.25 | 421.5 | 899.25 | 1377
Electric Basedboard Est. Costs | [6 empty] | 668 | 668 | 668 | 668 |  | 668 | 668 | 668 | 668 |  | 668 | 668 | 668 | 668
Gas Conversion Savings | [6 empty] | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453
Cumulative Savings | [6 empty] | 7701 | 8154 | 8607 | 9060 |  | 9513 | 9966 | 10419 | 10872 |  | 11325 | 11778 | 12231 | 12684
Net Savings | [6 empty] | -4299 | -3846 | -3393 | -2940 |  | -2487 | -2034 | -1581 | -1128 |  | -675 | -222 | 231 | 684
* Heating comparison calculator savings based on NJNG website, actual cost may vary based on energy usage and level of draft in home.
Up to $14,000 at 0% APR for five years through NJNG's On-Bill Repayment Program (OBRP)
Up to $1800 in rebates available: $600 rebate from NJNG and $1200 rebate from New Jersey Clean Energy Program (NJCEP)
Assumption: 1200 Square foot house with average heat setting of 70 degrees.
|  | Year 1 |  |  |  |  | Year 2 |  |  |  |  | Year 3 |  |  |  |  | Year 4 |  |  |  |  | Year 5 |  |  |  | Year 6 |  |  |  | Year 7
| Conversion To Gas: Investment | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
Gas: Estimated Costs |  | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215
Propane Est. Costs |  | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5
Gas Conversion Savings |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5
Cumulative Savings |  | 933.5 | 1867 | 2800.5 | 3734 |  | 4667.5 | 5601 | 6534.5 | 7468 |  | 8401.5 | 9335 | 10268.5 | 11202 |  | 12135.5 | 13069 | 14002.5 | 14936 |  | 15869.5 | 16803 | 17736.5 | 18670 | 19603.5 | 20537 | 21470.5 | 22404 | 23337.5 | 24271 | 25204.5 | 26138
Net Savings | -9000 | -8066.5 | -7133 | -6199.5 | -5266 |  | -4332.5 | -3399 | -2465.5 | -1532 |  | -598.5 | 335 | 1268.5 | 2202 |  | 3135.5 | 4069 | 5002.5 | 5936 |  | 6869.5 | 7803 | 8736.5 | 9670 | 10603.5 | 11537 | 12470.5 | 13404 | 14337.5 | 15271 | 16204.5 | 17138
Oil Est. Costs |  | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75
Gas Conversion Savings |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75
Cumulative Savings |  | 477.75 | 955.5 | 1433.25 | 1911 |  | 2388.75 | 2866.5 | 3344.25 | 3822 |  | 4299.75 | 4777.5 | 5255.25 | 5733 |  | 6210.75 | 6688.5 | 7166.25 | 7644 |  | 8121.75 | 8599.5 | 9077.25 | 9555 | 10032.75 | 10510.5 | 10988.25 | 11466 | 11943.75 | 12421.5 | 12899.25 | 13377
Net Savings | -9000 | -8522.25 | -8044.5 | -7566.75 | -7089 |  | -6611.25 | -6133.5 | -5655.75 | -5178 |  | -4700.25 | -4222.5 | -3744.75 | -3267 |  | -2789.25 | -2311.5 | -1833.75 | -1356 |  | -878.25 | -400.5 | 77.25 | 555 | 1032.75 | 1510.5 | 1988.25 | 2466 | 2943.75 | 3421.5 | 3899.25 | 4377
Electric Basedboard Est. Costs |  | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668
Gas Conversion Savings |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453
Cumulative Savings |  | 453 | 906 | 1359 | 1812 |  | 2265 | 2718 | 3171 | 3624 |  | 4077 | 4530 | 4983 | 5436 |  | 5889 | 6342 | 6795 | 7248 |  | 7701 | 8154 | 8607 | 9060 | 9513 | 9966 | 10419 | 10872 | 11325 | 11778 | 12231 | 12684
Net Savings | -9000 | -8547 | -8094 | -7641 | -7188 |  | -6735 | -6282 | -5829 | -5376 |  | -4923 | -4470 | -4017 | -3564 |  | -3111 | -2658 | -2205 | -1752 |  | -1299 | -846 | -393 | 60 | 513 | 966 | 1419 | 1872 | 2325 | 2778 | 3231 | 3684
* Heating comparison calculator savings based on NJNG website, actual cost may vary based on energy usage and level of draft in home.
Up to $14,000 at 0% APR for five years through NJNG's On-Bill Repayment Program (OBRP)
Up to $1800 in rebates available: $600 rebate from NJNG and $1200 rebate from New Jersey Clean Energy Program (NJCEP)
Assumption: 1200 Square foot house with average heat setting of 70 degrees.
|  | Year 1 |  |  |  |  | Year 2 |  |  |  |  | Year 3 |  |  |  |  | Year 4 |  |  |  |  | Year 5 |  |  |  | Year 6 |  |  |  | Year 7
| Conversion To Gas: Investment | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Total | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
Gas: Estimated Costs |  | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 860 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215
Propane Est. Costs |  | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 4594 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5 | 1148.5
Gas Conversion Savings |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 |  | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5 | 933.5
Cumulative Savings |  | 933.5 | 1867 | 2800.5 | 3734 |  | 4667.5 | 5601 | 6534.5 | 7468 |  | 8401.5 | 9335 | 10268.5 | 11202 |  | 12135.5 | 13069 | 14002.5 | 14936 |  | 15869.5 | 16803 | 17736.5 | 18670 | 19603.5 | 20537 | 21470.5 | 22404 | 23337.5 | 24271 | 25204.5 | 26138
Net Savings | -6000 | -5066.5 | -4133 | -3199.5 | -2266 |  | -1332.5 | -399 | 534.5 | 1468 |  | 2401.5 | 3335 | 4268.5 | 5202 |  | 6135.5 | 7069 | 8002.5 | 8936 |  | 9869.5 | 10803 | 11736.5 | 12670 | 13603.5 | 14537 | 15470.5 | 16404 | 17337.5 | 18271 | 19204.5 | 20138
Oil Est. Costs |  | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 2771 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75 | 692.75
Gas Conversion Savings |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 |  | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75 | 477.75
Cumulative Savings |  | 477.75 | 955.5 | 1433.25 | 1911 |  | 2388.75 | 2866.5 | 3344.25 | 3822 |  | 4299.75 | 4777.5 | 5255.25 | 5733 |  | 6210.75 | 6688.5 | 7166.25 | 7644 |  | 8121.75 | 8599.5 | 9077.25 | 9555 | 10032.75 | 10510.5 | 10988.25 | 11466 | 11943.75 | 12421.5 | 12899.25 | 13377
Net Savings | -6000 | -5522.25 | -5044.5 | -4566.75 | -4089 |  | -3611.25 | -3133.5 | -2655.75 | -2178 |  | -1700.25 | -1222.5 | -744.75 | -267 |  | 210.75 | 688.5 | 1166.25 | 1644 |  | 2121.75 | 2599.5 | 3077.25 | 3555 | 4032.75 | 4510.5 | 4988.25 | 5466 | 5943.75 | 6421.5 | 6899.25 | 7377
Electric Basedboard Est. Costs |  | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 2672 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668
Gas Conversion Savings |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 |  | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453
Cumulative Savings |  | 453 | 906 | 1359 | 1812 |  | 2265 | 2718 | 3171 | 3624 |  | 4077 | 4530 | 4983 | 5436 |  | 5889 | 6342 | 6795 | 7248 |  | 7701 | 8154 | 8607 | 9060 | 9513 | 9966 | 10419 | 10872 | 11325 | 11778 | 12231 | 12684
Net Savings | -6000 | -5547 | -5094 | -4641 | -4188 |  | -3735 | -3282 | -2829 | -2376 |  | -1923 | -1470 | -1017 | -564 |  | -111 | 342 | 795 | 1248 |  | 1701 | 2154 | 2607 | 3060 | 3513 | 3966 | 4419 | 4872 | 5325 | 5778 | 6231 | 6684
* Heating comparison calculator savings based on NJNG website, actual cost may vary based on energy usage and level of draft in home.
Up to $14,000 at 0% APR for five years through NJNG's On-Bill Repayment Program (OBRP)
Up to $1800 in rebates available: $600 rebate from NJNG and $1200 rebate from New Jersey Clean Energy Program (NJCEP)

## Comp Gas Conv
Things to consider when comparing Gas Conversion estimates
| BergeHVACR | Local Competitors | Why does it matter?
Permits |  | Sometimes | You may be unable to sell your home without a permit confirming the work passed inspection - worse still, we have heard of cases where the customer paid for permits and the HVAC company never actually filed them
Gas Pipe Drawings |  | Sometimes | To ensure the correct piping is used
Equipment Registration |  | No | Allows customer to get full warranty on equipment (if not done within 60 days the warranty is cut in half)
Heat Loss/Heat Gain Calculation |  | No | Required to ensure that system is the right fit for your home
Use R8 Flex Wrap |  | Sometimes | This is the industry standard, some companies will cut their own costs by using inferior products, we never do
Replace old Duct Work |  | Sometimes | Using old, broken-down ductwork is not only inefficient, it can be dangerous (when you replace your system but keep fiber duct it will blow into your airstream!)
Never use subcontractors |  | Sometimes | We are a family business, we plan to be here a long time, so our word means the world to us
Disposal of debris |  | Sometimes | We treat your home as if it were our own
√
√
√
√
√
√
√
√